## Slide 1
Stereo Vision Based Distance Estimation in G6
Pravin Kumar Rana
Algorithm Team

## Slide 2
Outline
Importance of Distance Information
Stereo Glint Based Distance Estimation
Benefits, Challenges, and Beyond 15

## Slide 3
Brief Overview of Eye Tracking
Importance of Distance Information

## Slide 4
Brief Overview of Eye Tracking
Camera acquire
the image
of the user in real
time.
Algorithms are
used to find
features in the image,
such as the eyes,
pupils, and glints.
Mathematical
models are used to
calculate the eye's
distance and the
gaze points.
The G6 eye tracker
incorporates
two near-infrared
illuminators,
one high resolution
cameras, one low
resolution camera
and algorithms.
Illuminators
create
reflections,
know as
glints, on
the eyes.
The G6 Eye Tracker
Gaze Point

## Slide 5
Importance of Distance Information
Eye
Screen
Tracker to Eye Distance
Eye
Tracker
Gaze point

## Slide 6
Importance of Distance Information
Eye
Screen
Eye
Tracker
Tracker to Eye Distance
Gaze point
Screen
Gaze point
Eye
Tracker

## Slide 7
Importance of Distance Information
Eye
Screen
Eye
Tracker
Tracker to Eye Distance
Gaze point
Screen
Estimated Gaze point
Eye
Tracker
Actual Gaze point

## Slide 8
Stereo Glints Based Eye Position Estimation in G6

## Slide 9
G6 Eye Tracker
G6 Base Geometry

## Slide 10
G6 Eye Tracker
High Resolution Camera
Low Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Tobii
ASIC
G6 Base Geometry

## Slide 11
Glint in High
Resolution
Image
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye

## Slide 12
Glint in High
Resolution
Image
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye

## Slide 13
Glint in High
Resolution
Image
Low Resolution Camera
High Resolution Camera
Dark Pupil Illuminator
Eye
High Resolution Image
Image
2600 X 1952
Bright Pupil Illuminator
2600 X 1952

## Slide 14
Glint in High
Resolution
Image
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye
High Resolution Image
Image
Eye Classification and Detection

## Slide 15
Glint in High
Resolution
Image
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye
High Resolution ROI Image
Image
1160 X 300

## Slide 16
Glint in High
Resolution
Image
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye
High Resolution ROI Image Patch
Image

## Slide 17
Glint in High
Resolution
Image
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye
High Resolution ROI Image Patch
Image
Glint Detector on Image Patch

## Slide 18
Glint in High
Resolution
Image
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye
High Resolution ROI Image Patch
Image
Glint Detector on Image Patch
Glint

## Slide 19
Glint in Low
Resolution
Image
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye
Image

## Slide 20
Glint in Low
Resolution
Image
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye
Image

## Slide 21
Glint in Low
Resolution
Image
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye
Image
Image
1280 X 960
Low Resolution Image

## Slide 22
Glint in Low
Resolution
Image
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye
Image
Image
No eye classification, detection, and tracking in low resolution image
Let us assume, a good initial guess of eye distance from tracker

## Slide 23
Glint in Low
Resolution
Image
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye
Image
Image
Let us assume, a good initial guess of eye distance from tracker

## Slide 24
Glint in Low
Resolution
Image
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye
Image
Image
Let us assume, a good initial guess of eye distance from tracker
Position of the low resolution camera and both of the illuminators are known

## Slide 25
Glint in Low
Resolution
Image
Eye
High Resolution Camera
Dark Pupil Illuminator
Bright Pupil Illuminator
Low Resolution Camera
Let us assume, a good initial guess of eye distance from tracker
Position of the low resolution camera and both of the illuminators are known
Using pin-hole camera model, project the glint in low resolution camera

## Slide 26
Let us assume, a good initial guess of eye distance from tracker
Position of the low resolution camera and both of the illuminators are known
Using pin-hole camera model, project the glint in low resolution camera
Eye
High Resolution Camera
Dark Pupil Illuminator
Bright Pupil Illuminator
Low Resolution Image
Low Resolution Camera
Glint in Low
Resolution
Image

## Slide 27
Glint in Low
Resolution
Image
Eye
High Resolution Camera
Dark Pupil Illuminator
Bright Pupil Illuminator
Low Resolution Image
Low Resolution Camera
Expected Glint Position
Let us assume, a good initial guess of eye distance from tracker
Position of the low resolution camera and both of the illuminators are known
Using pin-hole camera model, project the glint in low resolution camera

## Slide 28
Glint Mapping and Detection
No eye classification and detection is required in low resolution image
Low Resolution Image
High Resolution ROI Image
Expected glint position in low resolution image

## Slide 29
Glint Mapping and Detection
No eye classification and detection is required in low resolution image
Low Resolution Image
High Resolution ROI Image
Crop image patch around the expected glint position in low resolution image

## Slide 30
Glint Mapping and Detection
Low Resolution ROI Image Patch
Glint Detector on Image Patch

## Slide 31
Glint Mapping and Detection
Glint Detector on Image Patch
Low Resolution ROI Image Patch
Detected double glint position in low resolution image patch

## Slide 32
Glint in Low
Resolution
Image
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye
Low Resolution ROI Image Patch
Image
Image

## Slide 33
Glint in Low
Resolution
Image
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye
Image
Image

## Slide 34
Glint in Low
Resolution
Image
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye
Low Resolution ROI Image Patch
Double glint
Image
Image

## Slide 35
Stereo Glint Pair
High Resolution ROI Image Patch
Low Resolution ROI Image Patch
Double glint
Single
glint

## Slide 36
Stereo Glint
Based Distance
Estimation
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye
Image
Image

## Slide 37
Stereo Glint
Based Distance
Estimation
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye
Image
Image

## Slide 38
Stereo Glint
Based Distance
Estimation
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye
Image
Image
Assume double glint as a big single glint

## Slide 39
Stereo Glint
Based Distance
Estimation
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye
Image
Image
Point of Intersection

## Slide 40
Stereo Glint
Based Distance
Estimation
Low Resolution Camera
High Resolution Camera
Bright Pupil Illuminator
Dark Pupil Illuminator
Eye
Point of intersection gives distance of the tracker from the eye
For next frame, initialize the stereo algorithm with the estimated stereo distance
Point of Intersection

## Slide 41
Benefits, Challenges, and Beyond 15

## Slide 42
Benefits
Stable distance estimation when compare to temporal glints based position information
Only one glint is required to estimate distance information
  Improve gaze at large gaze angles
  Distance information is even when temporal glint based distance estimation fails
  Help to improve temporal glints based distance estimates
Improves gaze accuracy and precision with estimated cornea radius, instead of a fixed default value

## Slide 43
Challenges
Unsynchronized stereo system
  Acquisition time will be different for the low and high resolution images
  Double glints in low resolution images
Asymmetric stereo system
  Detected glint position in low resolution will have limited accuracy and precision
Highly sensitive to camera calibration parameters

## Slide 44
Develop Beyond 15
Online self-calibration for the stereo camera rig

## Slide 45
Thank You